## Water Parameters
RESULTS OF WATER ANALYSIS
3 samples supplied by Department for Environment and Water on 25/02/2022. Lab Job No. M6576.
Samples submitted by Stephen Madigan. Your Job: HCHB Project
GPO Box 1047 ADELAIDE SA 5001
Parameter | Methods reference | Detection Limits | Sample 1 | Sample 2 | Sample 3
|  | (Routine) | Parnka Point 22/2/22 | Snipe point 23/2/22 | Long Point 22/2/22
| Job No. | HideCol | M6576/1 | M6576/2 | M6576/3
Total Phosphorus (mg/L P) | In house method W4 | <0.01 | 0.037 | 0.086 | 0.054
Phosphate (mg/L P) | APHA 4500 P-G | <0.005 | 0.032 | 0.086 | 0.007
Total Nitrogen (mg/L N) | In house method W4 | <0.02 | 2.16 | 3.04 | 0.862
Nitrate (mg/L N) | APHA 4500 NO3--F | <0.005 | <0.05 | 0.008 | <0.005
Nitrite (mg/L N) | APHA 4500 NO2--I | <0.001 | <0.05 | 0.021 | <0.005
Ammonia (mg/L N) | APHA 4500 NH3-H | <0.005 | 0.22 | 0.261 | 0.008
Chlorophyll 'a' (mg/L) | ** APHA 10200-H | <0.001 | 0.04 | 0.593 | 0.016
Algal Biomass (mg/L) | ** Inhouse | <0.1 | 2.7 | 39.7 | 1
Notes:
1. 1 mg/L (milligram per litre) = 1 ppm (part per million) = 1000 µg/L (micrograms per litre) = 1000 ppb (part per billion).
2. Analysis performed according to APHA (2017) 'Standard Methods for the Examination of Water & Wastewater', 23rd Edition, except where stated otherwise.
3. Analysis conducted between sample arrival date and reporting date.
4. ** NATA accreditation does not cover the performance of this service.
5. .. Denotes not requested.
6. This report is not to be reproduced except in full.
7. All services undertaken by EAL are covered by the EAL Laboratory Services Terms and Conditions (refer scu.edu.au/eal or on request).
8. Results relate only to the samples tested.
9. This report was issued on 09/03/2022.
QC Data is available in the following Forms: |  | HideRow